# Solutions for Laboratory Manual

# (PSpiceÒ Emphasis) to accompany

# Electronic Devices and Circuit Theory

# Ninth Edition

Prepared by

Franz J. Monssen

EXPERIMENT 1:  OSCILLOSCOPE AND FUNCTION GENERATOR OPERATIONS

Part 1:  	The Oscilloscope

a. 	it focuses the beam on the screen

b.	adjusts the brightness of the beam on the screen

c.	allows the moving of trace in either screen direction

d.	selects volts/screen division on y-axis

e.	selects unit of time/screen division on x-axis

g.	allows for ac or dc coupling of signal to scope and at

GND position; establishes ground reference on screen

h.	locates the trace if it is off screen

i.	provide for the adjustment of scope from external

reference source

k.	determines mode of triggering of the sweep voltage

m.	the input impedance of many scopes consists of the parallel combination of a 1 Meg 	resistance and a 30pf capacitor

n.	measuring device which reduces loading of scope on a circuit and effectively 	increases input impedance of scope by a factor of 10.

Part 2:	The Function Generator

d.	T = l/f = 1/1000 Hz = l ms

e.	(calculated): 1 ms*[l cm/.2 ms] = 5cm

(measured): 5 cm = same

f.	(calculated): l ms*[cm/.5ms] =2 cm

(measured): 2 cm = same

g.	(calculated): 1 ms*[cm/1ms] = l cm

(measured): l cm = same

h.	.2 ms/cm takes 5 boxes to display total wave

.5 ms/cm takes 2 boxes to display total wave

1 ms/cm takes 1 box to display total wave

i.		1.	adjust timebase to obtain one cycle of the wave

2.	count the number of cm's occupied by the wave

3.	note the timebase setting

4.	multiply timebase setting by number of cm's occupied

by wave.  This is equal to the period of the wave.

5.	obtain its reciprocal; that's the frequency.

j.	(calculated): 2cm * [2V/cm] = 4Vp-p

k. 	8 * [.5V/cm] = 4Vp-p

1. 	the signal occupied full screen; the

peak amplitude did not change with a

change in the setting of the vertical sensitivity

m. 	no: there is no voltmeter built into function

generator

Part 3: Exercises

a. 	chosen sensitivities: 	Vert. Sens. = l V/cm

Hor.  Sens. = 50 s/cm

T(calculated): 4cm*[50 s/cm)= 200 s

Fig 1.1

b. 	chosen sensitivities: 	Vert. Sens. = .l V/cm

Hor.  Sens. = 1 ms/cm

T(calculated):5 cm*[l ms/cm] = 5 ms

Fig 1.2

c. 	chosen sensitivities: 	Vert. Sens. = l V/cm

Hor.  Sens. = l s/cm

T(calculated):10 cm*[1s/cm]=10 s

Fig 1.3

Part 4: 	Effect of DC Levels

a.	V(rms)(calculated) = 4V * 1/2 * .707 = 1.41 Volts

b.	V(rms)(measured) = 1.35 Volts

c.	[(1.41  1.35)/1.41) * 100 = 4.74%

d.	no trace on screen

e.	signal is restored, adjust zero level

f.	no shift observed; the shift is proportional to dc

value of waveform

g.	(measured) dc level: 1.45 Volts

h.

Fig 1.5

i.	Switch AC-GND-DC switch, make copy of waveform above.

The vertical shift of the waveform was equal to the battery voltage.

The shape of the sinusoidal waveform was not affected by changing the positions of 			the AC-GND-DC coupling switch.

j. 	The signal shifted downward by an amount equal to

the voltage of the battery.

Fig 1.6

Part 5: 	Problems

1.	b.  f = 2000/(2*3.14) = 318Hz

c.  T = l/f =1/318 = 3.14ms

d.  by inspection: V(peak) = 20V

e.  V(peak-peak) = 2*Vpeak = 40V

f.  V(rms) =.707 * 20 = 14.1V

g.  by inspection: Vdc = 0V

2.

a.  f = 2 * 3.14 * 4000/(2 * 3.14*) = 4 KHz

c.  T = l/f =1/4 Khz = 250 s

d.  by inspection:Vpeak)= 8 mV

e.  V(peak-peak) = 2 * V(peak) = 16 mV

f.  V(rms) = .707 * 8 mV = 5.66 mV

g.  by inspection: Vdc = 0V

3. 	V(t) = 1.7 sin (2.51 Kt) volts

Part 6:	Computer Exercise

PSpice Simulation 1-1

See Probe Plot page 233.

EXPERIMENT 2:  DIODE CHARACTERISTICS

Part 1:  	Diode Test

diode testing scale

Table 2.1

| Test Forward Reverse | Si (mV) 535 OL | Ge (mV) 252 OL |
| --- | --- | --- |

Both diodes are in good working order.

Part 2.  Forward-bias Diode characteristics

b.

Table 2.3

| VR(V) VD(mV) ID (mA) | .1 453 .1 | .2 481 .2 | .3 498 .3 | .4 512 .4 | .5 528 .5 | .6 532 .6 | .7 539 .7 | .8 546 .8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| VR(V) | .9 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VD (mV) | 551 | 559 | 580 | 610 | 620 | 630 | 640 | 650 | 650 | 660 | 660 |
| ID(mA) | .9 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

d.

Table 2.4

| VR(V) VD(mV) ID(mA) | .1 156 .1 | .2 187 .2 | .3 206 .3 | .4 217 .4 | .5 229 .5 | .6 239 .6 | .7 247 .7 | .8 254 .8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| VR(V) | .9 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VD (mV) | 260 | 266 | 300 | 330 | 340 | 360 | 370 | 380 | 390 | 400 | 400 |
| ID(mA) | .9 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

e.				           Fig 2.5

f.	Their shapes are similar, but for a given ID, the potential VD is greater for the silicon diode compared to the germanium diode. Also, the Si has a higher firing potential than the germanium diode.

Part 3:	Reverse Bias

b.	Rm = 9.9 Mohms

VR(measured) = 9.1 mV

IS(calculated) = 8.21 nA

c.	VR(measured) = 5.07 mV

IS(calculated) = 4.58 A

d.	The IS level of the germanium diode is approximately 500 times as large

as that of the silicon diode.

e.	RDC (Si) = 2.44*109 ohms

RDC(Ge) = 3.28 M*106 ohms

These values are effective open-circuits when compared to resistors in the kilohm range.

Part 4:  	DC Resistance

a.

Table 2.5

| ID (mA) | VD (mV) | RDC (ohms) |
| --- | --- | --- |
| .2 | 350 | 1750 |
| 1.0 | 559 | 559 |
| 5.0 | 630 | 126 |
| 10.0 | 660 | 66 |

b.

Table 2.6

| ID (mA) | VD (mV) | RDC (ohms) |
| --- | --- | --- |
| .2 | 80 | 400 |
| 1.0 | 180 | 180 |
| 5.0 | 340 | 68 |
| 10.0 | 400 | 40 |

Part 5:	AC Resistance

a.	(calculated)rac = 3.4 ohms

b.	(calculated)rac = 2.9 ohms

c.	(calculated)rac = 27.0 ohms

d.	(calculated)rac = 26.0 ohms

Part 6:  Firing Potential

VT(silicon) = 540 mV

VT(germanium) = 260 mV

Part 7:  Temperature Effects

c.	For an increase in temperature, the forward diode current will increase while the voltage VD across the diode will decline. Since RD = VD/ID, therefore, the resistance of a diode declines with increasing temperature.

d.	As the temperature across a diode increases, so does the current. Therefore, relative to the diode current, the diode has a positive temperature coefficient.

Part 9:	Computer Exercises

PSpice Simulation 2-1

1.	See Probe plot page 237.

2.	RD 600mV = 658 

RD 700 mV = 105 

4.	RD 600 mV = 257 

5.	See Probe Plot V(D1) versus I(D1)

7.	Silicon

8.	See Probe plot page 238.

9.	See Probe plot page 238.

10.	See Probe plot page 238.

EXPERIMENT 3:  SERIES AND PARALLEL DIODE CONFIGURATIONS

Part 1:	Threshold Voltage VT

Fig 3.2

Firing voltage:  Silicon:  595 mV	Germanium:  310 mV

Part 2:  	Series Configuration

b.	VD = .59 V

VO (calculated) = 5  .595 = 4.41 V

ID = 4.41/2.2 K = 2 mA

c.	VD(measured) = .59 V

VO(measured) = 4.4 V

ID(from measured) = 2 mA

e.	VD = 595 mV

VO(calculated) = (5  .595) 1 K/(1 K + 2.2 K) = 1.33 V

ID = 1.36 mA

f.	VD = .57 V

VO = 1.36 V

ID(from measured) = 1.36 V/1 K = 1.36 mA

g.	VD(measured) = 5 V			h.	VD(measured) = 5 V

VO(measured) = 0 V				VO(measured) = 0 V

ID(measured) = 0 A				ID(measured) = 0 A

j.	V1(calculated) = .905 V

VO(calculated) = 4.1 V

ID(calculated) = 1.86 mA

Part 7:	Computer Exercise

PSpice Simulation 3-2

1.	638.0 mV

EXPERIMENT 4:  HALF-WAVE AND FULL-WAVE RECTIFICATION

Part 1:	Threshold Voltage

VT = .64 V

Part 2: 	Half-wave Rectification

b.	Vertical sensitivity = 1 V/cm

Horizontal sensitivity = .2 ms/cm

c.

Fig 4.4

d.	Both waveforms are in essential agreement.

e.	Vdc = (4  .64)/3.14 = 1.07 V

f.	Vdc(measured) = .979 V

% difference = (1.07  .979)/1.07*100 = 8.5%

g.	For an ac voltage with a dc value, shifting the coupling switch from its DC to AC 	position will make the waveform shift down in proportion to the dc value of the 	waveform.

h.						Fig 4.6

i.	Vdc(calculated) = 1.07 V

Vdc(measured) = .970 V

Part 3:	Half-Wave Rectification (continued)

b.

Fig 4.8

c.

Fig 4.9

The results are in reasonable agreement.

d.	The significant difference is in the respective reversal of the two voltage waveforms. While in the former case the voltage peaked to a positive 3.4 volts, in the latter case, the voltage peaked negatively to the same voltage.

e.	VDC = (.318)*3.4 = 1.08 Volts

f.	Difference = [1.08  .979]/1.08*100 = 9.35%

Part 4:	Half-Wave Rectification (continued)

b.

Fig 4.11

c.

Fig 4.12

There was a computed 2.1% difference between the two waveforms.

d.

Fig 4.13

We observe a reversal of the polarities of the two waveforms caused by the reversal of the diode in the circuit.

Part 5:  Full-Wave Rectification (Bridge Configuration)

a.	V(secondary)rms = 14 V

This value differs by 1.4 V rms from the rated voltage of the secondary of the transformer.

b.	V(peak) = 1.41*14 = 20 V

c.

Fig 4.15

Vertical sensitivity: 	5 V/cm

Horizontal sensitivity: 	2 ms/cm

d.

Fig 4.16

Again, the difference between expected and actual was very slight.

e.	Vdc(calculated) 	= (.6326)*(20) = 12.7 V

Vdc(measured) 	= 11.36 V

% Difference	= 10.6%

g.	Vertical sensitivity = 5 V/cm

Horizontal sensitivity = 2 ms/cm

Fig 4.17

i.	Vdc(calculated) = (.636)*(12) = 7.63 V

j	Vdc(measured) = 7.05 V

% Difference = 7.6%

k.	The effect was a reduction in the dc level of the output voltage.

Part 6:  Full-Wave Center-tapped Configuration

a.	Vrms(measured) = 6.93 V

Vrms(measured) = 6.97 V

As is shown from the data, the difference for both halves of the center-tapped windings from the rated voltage is .6 volts.

b.	Vertical sensitivity = 5 V/cm

Horizontal sensitivity = 2 ms/cm

c.

Fig 4.21

d.	Vdc(calculated) = 3.5 V

Vdc(measured) = 3.04 V

Part 7:  Computer Exercise

PSpice Simulation 4-2

1.	Vp = 8.47 V; relative phase shift is equal to 180

2.	PIV = 2 Vp

3.	180 out of phase

4.	See Probe plot page 246.

Its amplitude is 7.89 V

5.	Yes

6.	Reasonable agreement.

EXPERIMENT 5:  CLIPPING CIRCUITS

Part 1:  	Threshold Voltage

VT(Si) = .618 V

VT(Ge) = .299 V

Part 2	Parallel Clippers

b.	VO(calculated) = 4 V

c.	VO(calculated) = 1.5  .618 = 2.2 V

d.

Fig 5.2

Vertical sensitivity = 1 V/cm

Horizontal sensitivity = .2 ms/cm

e.

Fig 5.3

No measured differences appeared between expected and observed waveforms.

f.	VO(calculated) = 4 V

g.	VO(calculated) = .62 V

Part 3:  Parallel Clippers (continued)

b.	VO(calculated)  = .61 V

c.	VO(calculated) = .34 V

d.

Fig 5.7

Vertical sensitivity = 1 V/cm

Horizontal sensitivity = .2 ms/cm

e.

Fig 5.8

The waveforms agree.

Part 4:  Parallel Clippers (Sinusoidal Input)

b.	VO(calculated) = 4 V  	when Vi = 4 V

VO(calculated) = 2 V	when Vi = 4 V

VO(calculated) = 0 V	when Vi = 0 V

Fig 5.9

c.	Waveforms agree within 6.5%.

Part 5:  Series Clippers

b.	VO(calculated) = 2.5 V 	when Vi = 4 V

c.	VO(calculated) = 0 V	when Vi = 4 V

d.

Fig 5.12

Vertical sensitivity = 1 V/cm

Horizontal sensitivity = .2 ms/cm

e.	agree within 5.1%

f.	VO(calculated) = 5.5 V 	when Vi = 4 V

g.	VO(calculated) = 0 V	when Vi = 4 V

h.

Fig 5.14

Vertical sensitivity = 2 V/cm

Horizontal sensitivity = .2 ms/cm

i.	no major differences

Part 6:  Series Clippers (Sinusoidal Input)

b.	VO(calculated) = 2 V	when Vi = 4 V

VO(calculated) = 0 V	when Vi = 4 V

VO(calculated) = 0 V 	when Vi = 0 V

Fig 5.16

Vertical sensitivity = 1 V/cm

Horizontal sensitivity = .2 ms/cm

Part 7:  Computer Exercises

PSpice Simulation 5-2

1.	See Probe plot page 252.

2.	VOUT = 4 V

3.	No

4.	VOUT = 2.067 V

5.	Yes, VOUT(ideal) = 1.5 V

6.	Reasonable agreement

7.	No significant discrepancies

8.	See Probe plot page 253.

PSpice Simulation 5-3

1.	See Probe plot page 254.

2.	In close agreement

3.	No

4.	For V1 = 4 V; 	Vout = V1  VD1  1.5 V = 4 V  .6  1.5 V = 1.9 V

For V1 = 4 V; 	I(D1) = 0 A,  Vout = 0 V

5.	See Probe plot page 255.

6.	See Probe plot page 255.

7.	See Probe plot page 255.

8.	See Probe plot page 255.

9.	Forward bias voltage of about 600 mV when “ON”.

Reverse diode voltage of diode is 4 V  1.5 V = 5.5 V