|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. One of the main considerations when installing a machine is the power source.   |  |  |  | | --- | --- | --- | |  | a. | True | |  | b. | False |  |  |  | | --- | --- | | *ANSWER:* | True | | *POINTS:* | 1 | | *REFERENCES:* | Installation of Motors and Control Equipment | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Manual control may be accomplished by simply connecting a switch in series with the motor.   |  |  |  | | --- | --- | --- | |  | a. | True | |  | b. | False |  |  |  | | --- | --- | | *ANSWER:* | True | | *POINTS:* | 1 | | *REFERENCES:* | Types of Control Systems | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3. With automatic control, an operator has to initiate certain actions.   |  |  |  | | --- | --- | --- | |  | a. | True | |  | b. | False |  |  |  | | --- | --- | | *ANSWER:* | False | | *POINTS:* | 1 | | *REFERENCES:* | Types of Control Systems | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4. High voltage surges are harmless and cannot damage electronic components connected to the power line.   |  |  |  | | --- | --- | --- | |  | a. | True | |  | b. | False |  |  |  | | --- | --- | | *ANSWER:* | False | | *POINTS:* | 1 | | *REFERENCES:* | Functions of Motor Control | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5. Diodes are used to suppress the voltage spikes produced by coils that operate on direct current.   |  |  |  | | --- | --- | --- | |  | a. | True | |  | b. | False |  |  |  | | --- | --- | | *ANSWER:* | True | | *POINTS:* | 1 | | *REFERENCES:* | Functions of Motor Control | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 6. The conductor size, fuse or circuit breaker size, and overload size are generally determined using the \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Code® and/or local codes.   |  |  | | --- | --- | | *ANSWER:* | National Electrical | | *POINTS:* | 1 | | *REFERENCES:* | Installation of Motors and Control Equipment | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7. Insurance companies established the \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ organization in an effort to reduce the number of fires caused by electrical equipment.   |  |  | | --- | --- | | *ANSWER:* | Underwriters Laboratories Underwriters Laboratories (UL) UL | | *POINTS:* | 1 | | *REFERENCES:* | Installation of Motors and Control Equipment | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 8. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ control is characterized by the use of push buttons, limit switches, pressure switches, and other sensing devices to control the operation of a magnetic contractor or starter.   |  |  | | --- | --- | | *ANSWER:* | Semiautomatic | | *POINTS:* | 1 | | *REFERENCES:* | Types of Control Systems | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 9. Fuses and circuit breakers are generally employed for \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ protection.   |  |  | | --- | --- | | *ANSWER:* | circuit | | *POINTS:* | 1 | | *REFERENCES:* | Functions of Motor Control | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10. The current flow through the MOV is called \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ current and is so small that it does not affect the operation of the circuit.   |  |  | | --- | --- | | *ANSWER:* | leakage | | *POINTS:* | 1 | | *REFERENCES:* | Functions of Motor Control | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 11. What does Underwriters Laboratories (UL) do?   |  |  | | --- | --- | | *ANSWER:* | UL tests equipment to determine if it is safe under different conditions. | | *POINTS:* | 1 | | *REFERENCES:* | Installation of Motors and Control Equipment | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 12. What are manual controllers?   |  |  | | --- | --- | | *ANSWER:* | Manual controllers are generally very simple devices that connect the motor directly to the line. | | *POINTS:* | 1 | | *REFERENCES:* | Types of Control Systems | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 13. What is a wiring diagram?   |  |  | | --- | --- | | *ANSWER:* | A wiring diagram is basically a pictorial representation of the control components with connecting wires. | | *POINTS:* | 1 | | *REFERENCES:* | Types of Control Systems | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 14. What does a schematic diagram show?   |  |  | | --- | --- | | *ANSWER:* | A schematic diagram shows components in their electrical sequence without regard for physical location. | | *POINTS:* | 1 | | *REFERENCES:* | Types of Control Systems | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 15. What is the difference between jogging and inching?   |  |  | | --- | --- | | *ANSWER:* | The difference between jogging and inching is that jogging is accomplished by momentarily connecting the motor to full line voltage and inching is accomplished by momentarily connecting the motor to reduced voltage. | | *POINTS:* | 1 | | *REFERENCES:* | Functions of Motor Control | |